## Sheet1
manufacturer_part_number | manufacturer | description | PLP Cross Part | Confidence Score | Reason of Match | H_PLPMatch | H_MatchReason
CB-44-3AL | AFL | EXTERNAL COIL BRACKET
3319 | AFL | 1272 KCMIL "BITTERN" CONDUCTOR SPACER
ODEC640/64909 | AFL | BOLTED DEADEND FOR OPGW
YCBS | AFL | Y-CLEVIS BALL, ANSI 52-5, 30K, 3/4" PIN, 3-3/32" LENGTH, 1-1/2" OPENING DEPTH
5050202 | Performed Line Products | HIGH MASS SPIRAL VIBRATION DAMPER FOR OPGW, (0.646" DIA)
8003041H3 | Performed Line Products | CUSHIONED DOWN LEAD CLAMP FOR UG CABLE, STEEL POLE MOUNTING
8003270H3 | Performed Line Products | ALUMINUM CUSHION DOWNLEAD CLAMP FOR OPGW, STEEL POLE MOUNTING
3319 | AFL | 1272 KCMIL "BITTERN" CONDUCTOR SPACER
710011655 | AFL | 1/2" - 13 UNC HEX HEAD BOLT ASSEMBLY w/FLAT WASHER, LOCK WASHER
| AFL | AC-86-646 OPGW
ANSH30L-BNC | AFL | ANCHOR SHACKLE, 30K, 5/8" PIN, 2-3/4" LENGTH, 7/8" MOUTH
APCKE678/693 | AFL | CONNECTOR KIT FOR OPGW FIBER
BCK397/412 | AFL | CONNECTOR KIT FOR LOOSE TUBE CABLE, FOR SUBSTATION UG FO
BWAL50H/50H40 | AFL | ALUMINUM BOND WIRE, 40" SECTION, 1/2" STUD TERMINALS, w/ 1/2" HARDWARE
CL-4 | AFL | CHAIN LINK, 30K, 2-1/4" X 1" EYE
ODELP10 | AFL | FIBER OPTIC LINK PLATE
SB01-72 | AFL | SPLICE BOX WITH 72 FIBER SPLICE TRAY
SB01FK | AFL | FURCATION KIT
SUME680/714 | AFL | SUSPENSION CLAMP, FOR OPGW
SE-SC | AFL | SOCKET EYE, 30K, ANSI 52-5, 11/16" PIN HOLE, 2-1/16" LENGTH